# Lead in Drinking Water – Public and Nonpublic Schools

***UPDATED* NOTICE: ELEVATED WATER SAMPLE RESULT(S)**

**Rodgers Forge Elementary School**

**NEW ACTION LEVEL – JUNE 1, 2021**

As of June 1, 2021 the action level for lead in drinking water in all Maryland public and nonpublic schools has been lowered from 20 parts per billion (ppb) to 5 ppb. Per the new regulation, all previous sampling results must be assessed, and action taken on fixtures with results between 5 ppb and 20 ppb. This includes issuing an updated notification. The Board of Education of Baltimore County already established a standard of 5 ppb for our schools.

**ELEVATED LEAD WATER SAMPLE RESULT(S)**

All Maryland public and nonpublic schools are required to sample all drinking water sources for the presence of lead pursuant to the Code of Maryland Regulations. On December 8, 2018, 55 water samples were collected from Rodgers Forge Elementary School. Of these water samples, sixteen (16) had levels of lead between the new action level of 5 ppb and the previous action level of 20 ppb for lead in drinking water in school buildings. The elevated lead results from the sample(s) collected at Rodgers Forge Elementary School were as follows:

|  |  |
| --- | --- |
| **Result (ppb)** | **Fixture Locations** |
| 7.35 5.60 8.71 19.1 6.77 5.44 11.4 9.20 7.42 8.48 12.2 6.88 5.55 15.3 8.18 10.2 | Tap, Room 102, Handsink Tap, Room 105, Handsink Tap, Room 106, Handsink Tap, Counselor Room Fountain, Recreation Room Fountain, Hallway by Faculty Room Fountain, Hallway by Room 3 Fountain, Hallway by Room 110 Bubbler, Room 1 Bubbler, Room 103 Bubbler, Room 106 Bubbler, Room 107 Bubbler, Room 116 Bubbler, Room 118 Bubbler, Office Workroom Bubbler, Reading Room |

**ACTION TAKEN**

Remedial action has been taken on this fixture. Bottled water will continue to be provided for drinking.

**ACTION LEVEL (AL)**

The AL is 5 ppb for lead in drinking water in school buildings. The AL is the concentration of lead which, if exceeded, triggers required remediation.

**LOCAL AND FEDERAL DRINKING WATER STANDARDS**

Without being required to do so, BCPS has tested school drinking fountains for lead since 2016. There are no federal regulations for schools regarding drinking water. The federal Clean Drinking Water Act requires public water systems to test for lead. Nine of our schools have well systems, and those systems have tested for lead as required.

**HEALTH EFFECTS OF LEAD**

Lead can cause serious health problems if too much enters your body from drinking water or other sources. It can cause damage to the brain and kidneys,and can interfere with the production of red blood cells that carry oxygen to all parts of your body. The greatest risk of lead exposure is to infants, young children, and pregnant women. Lead is stored in the bones and it can be released later in life. During pregnancy, the fetus receives lead from the mother’s bones, which may affect brain development. Scientists have linked the effects of lead on the brain with lowered IQ in children. Adults with kidney problems and high blood pressure can be affected by low levels of lead more than healthy adults.

**SOURCES OF HUMAN EXPOSURE TO LEAD**

There are many different sources of human exposure to lead. These include: lead-based paint,

lead-contaminated dust or soil, some plumbing materials, certain types of pottery, pewter, brass fixtures, food, and cosmetics, exposure in the work place and exposure from certain hobbies, brass faucets, fittings, and valves. According to the Environmental Protection Agency (EPA), 10 to 20 percent of a person’s potential exposure to lead may come from drinking water, while for an infant consuming formula mixed with lead-containing water this may increase to 40 to 60 percent.

**HOW CONSUMERS CAN REDUCE EXPOSURE TO LEAD IN DRINKING WATER**

1. Run your water to flush out lead**:** If water hasn’t been used for several hours, run water for 15 to 30 seconds or until it becomes cold or reaches a steady temperature before using it for drinking or cooking.
2. Use cold water for cooking and preparing baby formula. If lead was present in the plumbing, it would dissolve more easily in hot water.

*Please note that boiling the water will not reduce lead levels.*

**ADDITIONAL INFORMATION**

1. For additional information, please contact David Glassman, Supervisor, Environmental Services at 443.809.6310 or [dglassman2@bcps.org](mailto:dglassman2@bcps.org).
2. For additional information about reducing lead exposure around your home/building and the health effects of lead, visit EPA’s website at [www.epa.gov/lead](http://www.epa.gov/lead).
3. If you are concerned about exposure, contact your healthcare provider. If you do not have a healthcare provider, please contact the Baltimore County Department of Health at 410.887.3725.